# Phase II (Small) MS4 Annual Report Form

## TPDES General Permit Number TXR040000

### General Information

- Authorization Number:  TXR040556

- Reporting Year (year will be either 1, 2, 3, 4, or 5):_Year 7_____

- Annual Reporting Year Option Selected by MS4:

- Calendar Year:_____

- Permit Year:__X__

- Fiscal Year: __________   Last day of fiscal year: (______)

- Reporting period beginning date: (month/date/year) __1/24/2025_______

Reporting period end date: (month/date/year) __11/10/2025_______

MS4 Operator Level: _Level 2__  Name of MS4:_Tarrant County College District Northeast Campus MS4__________________

Contact Name: __Alisha Lagrini_____ Telephone Number: __817-653-5992____

Mailing Address: __5450 North Riverside Drive, Fort Worth, Texas 76137__________

E-mail Address: __alisha.lagrini@tccd.edu______

A copy of the annual report was submitted to the TCEQ Region: YES_X_ NO___ Region the annual report was submitted to: TCEQ Region 4____

### Status of Compliance with the MS4 GP and SWMP

- Provide information on the status of complying with permit conditions: (TXR040000 Part IV.B.2)

|  | Yes | No | Explain |
| --- | --- | --- | --- |
| Permittee is currently in compliance with the SWMP as submitted to and approved by the TCEQ. | X |  | Activities outlined in the submitted SWMP have been implemented. |
| Permittee is currently in compliance with recordkeeping and reporting requirements. | X |  | Annual reports were submitted in 2025, as required for the entities covered under the shared SWMP. Additional records are kept as required (i.e., regular inspections, construction inspections, and illicit discharge inspections). |
| Permittee meets the eligibility requirements of the permit (e.g., TMDL requirements, Edwards Aquifer limitations, compliance history, etc.). | X |  |  |
| Permittee conducted an annual review of its SWMP in conjunction with preparation of the annual report | X |  |  |

- Provide a general assessment of the appropriateness of the selected BMPs. You may use the table below to meet this requirement (see Example 1 in instructions):

| MCM(s) | BMP | BMP is appropriate for reducing the discharge of pollutants in stormwater (Answer Yes or No and explain) |
| --- | --- | --- |
| 1. Public Education, Outreach, and Involvement | Public events, promotional and giveaway materials, educational materials, web page, hotline | Yes, this BMP has an indirect impact on the discharge of pollutants to stormwater. The information provided to the TCCD community is designed to influence behaviors by increasing engagement and understanding. It also provides an avenue to receive feedback from the campus community on stormwater issues, as well as report issues in real time. Ultimately, the increased knowledge and influenced behaviors are expected to result in reduction of pollutants in stormwater. |
| 2. Illicit Discharge Detection and Elimination | Storm sewer maps, target area inspections, hotline, website reporting form, field personnel training | Yes, this BMP has a direct impact on reducing the discharge of pollutants by identifying pollutants being exposed to stormwater by field personnel during target area inspections and/or by campus community members reporting observations of pollutants through the hotline or website. |
| 3. Construction Site Stormwater Runoff Control | Policies, construction site reviews, inspections and investigations, hotline, complaint response and tracking, and staff training | Yes, this BMP has a direct impact on reducing the discharge of pollutants by requiring construction contractors to comply with stormwater permitting and applicable BMPs, and to adhere to TCCD design standards intended to reduce pollutants exposed to stormwater. Routine inspections are intended to identify non-compliances with established BMPs, thus reducing potential pollutants from entering the stormwater. This BMP has a direct impact on reducing the discharge of pollutants by providing an outlet to the community to report stormwater issues or concerns seen on a day-to-day basis. |
| 4. Post-Construction Stormwater Management in New Development and Redevelopment | Post-construction inspections and established technical design guidelines. | Yes, this BMP has a direct impact on reducing the discharge of pollutants by ensuring that the planning of new construction follows TCCD design guidelines which incorporate stormwater pollution prevention requirements for post-construction activities (i.e., drainage swales, ran gardens, etc.) that will have long-term impacts on the quality of stormwater discharges. Post-construction inspections ensure that all permanent BMPs are installed and maintained correctly. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Storm sewer maintenance & inspections, waste disposal, spill prevention, employee training, campus assessments, routine inspections, contractor management, water conservation, pesticide management | Yes, this BMP has a direct impact on reducing the discharge of pollutants. Facility staff stormwater training and contractor management facilitate the appropriate management of potential pollutants (i.e., materials stored indoors or under cover, spills cleaned up promptly, etc.). Campus assessments assist in identifying additional target areas, and routine inspections are intended to identify potential pollutants and serve as additional staff training. |

- Describe progress towards achieving the goal of reducing the discharge of pollutants to the MEP. If no progress was made or the BMP did not result in a reduction in pollutants, provide an explanation. Use the table below to meet this requirement (see Example 2 in instructions):

| MCM | BMP | Information Used | Quantity | Units | Does the BMP Demonstrate a Direct Reduction in Pollutants? (Answer Yes or No and explain) |
| --- | --- | --- | --- | --- | --- |
| 1. Public Education, Outreach, and Involvement | Public Involvement/ Education | Special Events | 0 (2 events were held at other campuses) | Campus Event | No, a direct reduction of pollutants is not demonstrated but through education and information, an indirect reduction may result in reduced pollutants, due to shifts in behavior. |
| 1. Public Education, Outreach, and Involvement | Public Education | Education Materials (i.e., Digital Signage) | 4 | Signs | No, a direct reduction of pollutants is not demonstrated but through educating the campus community about stormwater pollution and negative impacts of waste, a shift in behavior may result in reduced pollutants. |
| 2. Illicit Discharge Detection and Elimination | Dry Weather Screening | Visual observation of outfalls and upstream areas | 3 | Inspections | Yes, this BMP demonstrates a direct reduction of pollutants through identification and correction of illicit discharges if observed during inspections. If pollutants are observed upstream, these can be addressed prior to discharge of pollutants. |
| 2. Illicit Discharge Detection and Elimination | Website and Stormwater Reporting Hotline | Website and telephone hotline | 0 | Inspections | Yes, this BMP demonstrates a direct reduction of pollutants through identification and correction of illicit discharges if observed and reported through the hotline or website. If pollutants are observed upstream, these can be addressed prior to discharge of pollutants. However, no illicit discharges were reported through the hotline or website. |
| 3. Construction Site Stormwater Runoff Control | Construction Site Inspections | Visual observation of construction site areas | 0 | Inspections | Yes, this BMP demonstrates a direct reduction of pollutants through the identification of missing or improperly maintained BMPs during inspections and associated corrective actions. |
| 4. Post-Construction Stormwater Management in New Development and Redevelopment | Post- Construction Plan Review | Post -Construction design | 0 | Review | No, this BMP does not have a direct impact on pollutant reduction; however, appropriate incorporation of required post -construction stormwater pollution prevention BMPs into the design of a project facilitates the reduction of pollutant discharges in the operational phase. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Storm Sewer Inspections & Maintenance | Visual observation of storm sewer systems (catch basins, inlets, drainage channels, retention ponds) | 3 | Inspections | Yes, by inspecting and maintaining storm sewer systems and performing required maintenance, a reduction of pollutants impacting the stormwater is expected. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Target Area Inspections | Visual observation of target areas with potential pollutant exposure to stormwater | 3 | Inspections | Yes, if pollutants are observed in the target areas, they can be addressed prior to discharge of pollutants into stormwater. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Spill Prevention | Inspection of fuel and used oil tanks, preventative maintenance, and spill kit stocking | 12 | Inspections | Yes, if leaks, spills, or maintenance issues are observed in the storage tank areas, they can be addressed prior to discharge of pollutants into stormwater. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Spill Prevention | Annual training of employees on spill prevention, countermeasure, and control | 1 | Training | No, this BMP has an indirect impact on the reduction of pollutants, by providing employees education about the various sources of oil around the campuses and how to properly address and cleanup a spill. |

- Provide the measurable goals for each of the MCMs, and an evaluation of the success of the implementation of the measurable goals (see Example 3 in instructions):

| MCM(s) | Measurable Goal(s) | Explain progress toward goal or how goal was achieved. If goal was not accomplished, please explain. |
| --- | --- | --- |
| 1. Public Education, Outreach, and Involvement | Host at least two events at various TCCD campuses annually | Met goal. Two in-person campus events were held in 2025 – Arbor Day at the Southeast Campus and Earth Day at the Northwest Campus. These events provided information to the community related to stormwater pollution prevention. |
| 1. Public Education, Outreach, and Involvement | TCCD’s Office of Environmental Management direct participation in at least 1 special event annually Display education materials annually at campus events. | Met goal. Two in-person campus events were held in 2025 – Arbor Day at the Southeast Campus and Earth Day at the Northwest Campus, in which TCCD’s Office of Environmental Management directly participated in educating the community about stormwater pollution prevention. |
| 1. Public Education, Outreach, and Involvement | Establish web page | Met goal. A website dedicated to providing information about TCCD’s stormwater program has been established and is currently live with available links to the public in reporting stormwater issues (i.e., illicit discharges, construction issues). |
| 1. Public Education, Outreach, and Involvement & 2. Illicit Discharge Detection and Elimination | Stormwater hotline and reporting form added to the web page. Review call log and summary of reports annually | Met goal. The long-established stormwater hotline number is posted on the Stormwater Management web page as well as a reporting form that can be used to report concerns related to stormwater pollution or observed illicit discharges. A review of the call log and reporting summary indicates one call was made in 2025, but after follow-up it was a wrong number. |
| 1. Public Education, Outreach, and Involvement | Sponsor at least one cleanup day annually. | Met goal. One annual cleanup day was held in 2025 – Campus Beautification at the Northeast campus. This event organized community-based efforts around trash removal and stormwater pollution prevention. |
| 1. Public Education, Outreach, and Involvement | Provide construction contractors with educational materials. | There were no construction projects at the Northeast (NE) campus during 2025. |
| 2. Illicit Discharge Detection and Elimination | Review and update (if needed) storm sewer maps, annually. | Met goal. Storm sewer maps for each campus were reviewed in 2025 and no updates were needed since the 2024 SWMP revision for the new permit term. |
| 2. Illicit Discharge Detection and Elimination | Conduct target area inspections at each campus quarterly. Review target areas annually. | Met goal. Three target area inspections were completed at each campus, between January 24th and November 10th of 2025. The target areas were reviewed, and no additional areas need to be included in the existing inspections. |
| 2. Illicit Discharge Detection and Elimination | Document and respond to 100% of Illicit Discharge Detection and Elimination (IDDE) reports. | No IDDE reports were made for the Northeast campus in 2025. |
| 3. Construction Site Stormwater Runoff Control | Hold pre-construction meetings for projects that disturb more than 1 acre. | There were no construction projects at Northeast campus during 2025. |
| 3. Construction Site Stormwater Runoff Control | Review 100% of applicable construction project SWP3s. | There were no construction projects at Northeast campus during 2025. |
| 3. Construction Site Stormwater Runoff Control | Inspect 100% of applicable construction projects. | There were no construction projects at NE campus during 2025. |
| 4. Post-Construction Stormwater Management in New Development and Redevelopment | Inspect 100% of sites following receipt of Notice of Termination (NOT). | No construction projects were terminated at NE campus during 2025. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Annually review facility stormwater control inventory; inspect 100% of stormwater inlets semi-annually. | Met goal. Stormwater inlets are inspected and, if needed, cleaned out semi-annually. Campus maintenance, including stormwater inlet cleanings, is tracked in the preventative maintenance software, The Maintenance Authority (TMA) Database, and reviewed semi-annually to ensure that the tasks continue to be completed. Facility stormwater control inventories are updated, as needed, based on observations during quarterly Target Area Inspections. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Inspect 100% of tanks at each campus, each month according to the SPCC plans. | Met goal. Tank inspections are conducted monthly as required by each campus’ SPCC plan. Records of inspections are kept with the SPCC plans. Exterior tank inspections are also conducted during the Target Area Inspections and conditions are noted in those reports. |
| 5. Pollution Prevention and Good Housekeeping for Municipal Operations | Install Automated Irrigation Systems at 100% (all 5) campuses. | Met goal. Automated Irrigation Systems have been installed at each campus to utilize active weather data to inform the irrigation system of the weather conditions and precipitation to adjust irrigation to be used as needed. |

### Stormwater Data Summary

Provide a summary of all information used, including any lab results (if sampling was conducted) to assess the success of the SWMP at reducing the discharge of pollutants to the MEP. For example, did the MS4 conduct visual inspections, clean the inlets, look for illicit discharge, clean streets, look for flow during dry weather, etc.?

Identified target areas and outfalls were visually observed for three quarters of this shortened annual review period of 2025 at each campus. During the quarterly inspections, inspectors looked for flow during dry weather and assessed the condition of the outfalls and retention pond. Also, facilities personnel (groundskeeping staff) visually inspected the grounds and cleaned inlets, as needed. Illicit discharges were not reported by the public nor observed during quarterly target area inspections.

### Impaired Waterbodies

- Identify whether an impaired water within the permitted area was added to the latest EPA-approved 303(d) list or the Texas Integrated Report of Surface Water Quality for CWA Sections 305(b) and 303(d). List any newly-identified impaired waters below by including the name of the water body and the cause of impairment.

- No newly identified impaired waters were listed.

- If applicable, explain below any activities taken to address the discharge to impaired waterbodies, including any sampling results and a summary of the small MS4’s BMPs used to address the pollutant of concern.

- TCCD has determined that the Northeast Campus has little potential to cause or contribute to the impairments identified in the receiving waters. There is limited unmanaged animal contribution from pets and none from livestock, and there are no overflowing sewer systems or residential populations present. In addition, there is no current or legacy use of chlordane on the Campus.

- Through continued offerings of educational and awareness information at public events and the target area inspections, TCCD works to minimize or eliminate potential for litter on campus, litter or other pollutants from trash dumpsters and compactors, and in the community, which may ultimately affect bacteria levels. Implementation of these BMPs, as well as continued maintenance of structural controls, will assist in preventing further impact to stormwater by educating students, faculty, and staff.

- Describe the implementation of targeted controls if the small MS4 discharges to an impaired water body with an approved TMDL.

- TCCD Northeast Campus discharges to an impaired water body (TX-0841_02) which has established TMDLs for bacteria and chlordane in fish tissue. Ongoing quarterly inspections conducted at target areas together with daily/weekly inspections and litter removal of parking areas, open spaces, and outfalls are the primary activities used to address discharges. As a secondary activity, student and faculty awareness and educational programs are provided during campus events (i.e., Earth Day, Spring Fest, or Arbor Day) and through display/distribution of education information and materials.

- Report the benchmark identified by the MS4 and assessment activities:

| Benchmark Parameter (Ex: Total Suspended Solids) | Benchmark Value | Description of additional sampling or other assessment activities | Year(s) conducted |
| --- | --- | --- | --- |
| Bacteria (E Coli) | Not Applicable | Quarterly visual inspections of outfalls, retention ponds, and target areas (Director of Environmental Management) Weekly/Daily inspections (Facility Services staff and groundskeepers) | 2013 to present |

- Provide an analysis of how the selected BMPs will be effective in contributing to achieving the benchmark:

| Benchmark Parameter | Selected BMP | Contribution to achieving Benchmark |
| --- | --- | --- |
| Bacteria | Visual Observations (quarterly, weekly, daily) | Potential sources of bacteria (food waste from compactors and litter) are removed if identified. |
| Bacteria | Public outreach and education | Students, faculty, and staff receive bacteria-specific educational materials which may reduce both on- and off-campus discharges. |

6. If applicable, report on focused BMPs to address impairment for bacteria:

| Description of bacteria-focused BMP | Comments/Discussion |
| --- | --- |
| Target Area Inspections | A total of three inspections of each of the target areas were completed per campus during this shortened annual report period of 2025. During each inspection compactors and trash dumpsters were inspected, among other potential sources of bacteria, if present. |

7. Assess the progress to determine BMP’s effectiveness in achieving the benchmark.

For example, the MS4 may use the following benchmark indicators:

  - number of sources identified or eliminated;

  - number of illegal dumpings;

  - increase in illegal dumping reported;

  - number of educational opportunities conducted;

  - reductions in sanitary sewer flows (SSOs);  /or

  - increase in illegal discharge detection through dry screening.

| Benchmark Indicator | Description/Comments |
| --- | --- |
| Number of sources identified or eliminated. | Sources of bacteria were identified at the campus (i.e., litter), but litter was routinely removed from parking areas and open spaces and no sources were identified at Northeast Campus during the 2025 quarterly target area inspections. |
| Number of educational opportunities conducted. | Two in-person campus events were held in 2025, Arbor Day, at the Southeast Campus, and Earth Day, at the Northwest Campus. These events provided information related to stormwater pollution prevention and reduction of litter at the campus. A Campus Beautification Event was held at the Northeast Campus in 2025. |
| Illegal discharge detection through dry screening | No illegal discharges were detected during dry weather screenings conducted in conjunction with quarterly target area inspections. |

### Stormwater Activities

Describe activities planned for the next reporting year:

| MCM(s) | BMP | Stormwater Activity | Description/Comments |
| --- | --- | --- | --- |
| 1 | Public Events | Host at least two events such as Earth Day Celebration or Arbor Day. | Events are typically held at rotating campuses during the spring to celebrate Earth Day or at other times of the year to provide opportunities for students and faculty to give back to the community through public service. In 2026, TCCD will host an Arbor Day Celebration at the Southeast Campus and an Earth Day event at an undetermined campus. TCCD’s Office of Environmental Management will participate in these events, offering information regarding its stormwater management program and how the community can reduce their impact to stormwater, particularly concerning bacteria. |
| 1 | Stormwater Educational Materials | Educational messages displayed on digital signs and/or available for viewing on the TCCD Stormwater website. | A new educational message will be rotated onto digital signage and/or on the TCCD stormwater web page every quarter. |
| 1 & 2 | Hotline and Web Page | Stormwater information exchange | The long-established stormwater hotline will be displayed as well as a form available on the TCCD stormwater web page. The hotline and form are intended to gather information related to pollution from the campus occupants. The NOI regarding the TCCD SWMP and this annual report, will be posted for information within 30 days of submission. |
| 2 | Storm Sewer Maps | Review and Update | The storm sewer maps will be reviewed and updated, if needed. |
| 2 | Dry Weather Screen | Visual observation of outfalls during dry weather. | Outfalls will be visually inspected each quarter to determine if illicit discharges are occurring. |
| 2, 3 & 5 | Training | Initial and recurrent training | Field staff will be trained regarding spill response and identification and investigation of illicit discharges. Training with regard to BMPs and GHMs will be provided through information exchanged during quarterly target area inspections. Staff whose duties are related to implementing the construction stormwater program will be trained on their responsibilities. Spill prevention, countermeasure, and control annual training will be conducted for those with direct responsibilities in oil spill prevention. |
| 5 | Pollution Prevention | Target Area Inspections | TCCD will continue its quarterly target area inspection program to identify potential pollutants and to continue improving performance in BMP and GHM implementation. |
| 5 | Water Conservation | Automated irrigation systems | Automated systems that utilize daily weather information will be utilized at each campus. This will allow irrigation to vary depending on temperature, wind, and rainfall. |

### SWMP Modifications

- The SWMP and MCM implementation procedures are reviewed each year.

- _X_Yes ___No

- Changes have been made or are proposed to the SWMP since the NOI or the last annual report, including changes in response to TCEQ’s review.

- ____Yes _X_No

- If “Yes,” report on changes made to measurable goals and BMPs:

| MCM(s) | Measurable Goal(s) or BMP(s) | Implemented or Proposed Changes (Submit NOC as needed) |
| --- | --- | --- |
| No changes are necessary at this time. | Not Applicable | Not Applicable |

- Note: If changes include additions or substitutions of BMPs, include a written analysis explaining why the original BMP is ineffective or not feasible, and why the replacement BMP is expected to achieve the goals of the original BMP.

- Explain additional changes or proposed changes not previously mentioned (i.e. dates, contacts, procedures, annexation of land, etc.).

- No additional changes required.

### Additional BMPs for TMDLs and I-Plans

Provide a description and schedule for implementation of additional BMPs that may be necessary, based on monitoring results, to ensure compliance with applicable TMDLs and implementation plans.

| BMP | Description | Implementation Schedule (start date, etc.) | Status/Completion Date (completed, in progress, not started) |
| --- | --- | --- | --- |
| No additional BMPs necessary at this time. | Not Applicable | Not Applicable | Not Applicable |

### Additional Information

- 1. Is the permittee relying on another entity to satisfy any permit obligations?

- _X_ Yes  __ No

- If “Yes,” provide the name(s) of other entities and an explanation of their responsibilities (add more spaces or pages if needed).

Name and Explanation: TCCD’s Northeast Campus shares a permit with four other campuses – Northwest, South, Southeast, and Trinity River Campus. Each Campus is responsible for meeting quarterly target area inspections, construction site inspections, public education (i.e., Digital Signage) and investigating illicit discharges, if any.

Name and Explanation: Braun Intertec assists in conducting public education during public involvement events and conducts quarterly target area inspections and construction site inspections, when applicable.

- 2.a. Is the permittee part of a group sharing a SWMP with other entities?

- _X_ Yes  ___ No

- 2.b. If “yes,” is this a system-wide annual report including information for all permittees?

- __ Yes  _x  No

- If “Yes,” list all associated authorization numbers, permittee names, and SWMP responsibilities of each member (add additional spaces or pages if needed):

Authorization Number: TXR040557	Permittee: TCCD Northwest Campus

Authorization Number: TXR040558          Permittee: TCCD South Campus

Authorization Number: TXR040641          Permittee: TCCD Southeast Campus

Authorization Number: TXR040645          Permittee: TCCD Trinity River Campus

### Construction Activities

1. The number of construction activities that occurred in the jurisdictional area of the MS4 (Large and Small Site Notices submitted by construction site operators):

_____0_______

- 2a. Does the permittee utilize the optional seventh MCM related to construction?

- ___ Yes  X__ No

- 2b. If “yes,” then provide the following information for this permit year:

| The number of municipal construction activities authorized under this general permit |  |
| --- | --- |
| - Not Applicable | - Not Applicable |

Note: Though the seventh MCM is optional, implementation must be requested on the NOI or on a NOC and approved by the TCEQ.

### Certification

If this is this a system-wide annual report including information for all permittees, each permittee shall sign and certify the annual report in accordance with 30 TAC §305.128 (relating to Signatories to Reports).

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Name (printed):_____________________ Title:________________________

Signature: _________________________ Date:________________________

Name of MS4__ Tarrant County College District Northeast Campus MS4__

If you have questions on how to fill out this form or about the Stormwater Permitting program, please contact us at 512-239-4671.

Individuals are entitled to request and review their personal information that the agency gathers on its forms. They may also have any errors in their information corrected. To review such information, contact us at 512-239-3282.